AMI Education Center						Ph.  412-349-0045

465 Old Frankstown Road					Fx.  412-349-0046

Monroeville, Pa 15146

training@amimedimaging.com

### First Source Fuji FCR GO/GO2 Portable X-ray Training Outline

#### Day 1	Portable XRAY Overview

- Introductions and Resource Material Review

- Evolution of CR – Past –Present-Future

- Fuji Computed Radiography – OEM Comparatives

- Portable X-ray in Hospital / Clinic / Ambulatory Care

- Dynamic theory of operation – IP Units ID / Components

#### Day 2	Fuji GO / GO2 Series CR Overview

- Overview/Differences

- Operating the Fuji GO

- Fuji GO Operation and theory

- Extended theory of operation – IP Units ID / Removal / Components

- Functional Units Removal / ID / Reinstallation

- Introduction to the Utility SW  - Configure / Diagnostics / Adjustments / Backup

- Preventive Maintenance Procedure – Overview

- Image Quality Review – Calibration -Shading and Sensitivity

#### Day 3	Fuji Integrated CR Reader Overview

- Review and Troubleshooting

- IIP System Software Introduction

- Configuration and Setup

- Destinations and Default Configuration

- Image Distribution Configuration and Testing

#### Day 4	Fuji FCR-GO Diagnostics / Software Upgrade

- Common Problems / Solutions

- Flash Upgrade procedure and Disaster Recovery

#### Day 5	Portable X-Ray FCR –GO Troubleshooting / Course Review

- Review and Diagnostic Troubleshooting

- ECN discussion and Update

- Wrap-up and Q & A